**Title** Study on Effluents Quality from the Buildings

 in Rajabhat Maha Sarakham University

**Authers** Nuttawan Rahang

 Thipphawan Siriwi

 Nuanchawee Sonkamhan

**Advisors** Mr. Cherdchai Sombatyotha

 Dr. Nukool Kudthalhaeng

 Asst. Prof. Dr. Wuttikorn Saikaew

**Department/Faculty** Environmental Science/Science and Technology

**University** Rajabhat Maha Sarakham University

**Year** 2016

**ABSTARCT**

The objective of this study was to analyse the quality of effluents from buildings that runs along the pipelines from each buildings to the water resources within Rajabhat Maha Sarakham University, in order to compare with Building Effluents Standards. The sampling points of water determined of seven points to collect data as follows : 1st point at the end of effluents pipe from Building of 72 Anniversary, 2nd point at the end of effluents pipe from Rajabhat Maha Sarakham University’s dormitory, 3rd point at the end of effluents pipe from Building 3 (Faculty of Humanities and Social Sciences), 4th point at the end of effluents pipe behind the outdoor stage, 5th point at the end of effluents pipe from Building 10 (Science Center), 6th point at the end of effluents pipe of the bridge to cross over Huay Kakang to the 80th Anniversary Auditorium Building, 7th point at the end of effluents pipe from Buildings 31 (80th Anniversary Auditorium Hall). The sampling water was collected during the month of December 2558 to January 2559. The parameters studied include Acidity - Alkalinity (pH), Biochemical Oxygen Demand (BOD), Suspended Solids (SS), Total Dissolved Solids (TDS), Sulfide (S2-), Oil and Grease (FOG), Total Kjeldahl Nitrogen (TKN), and Phosphate (PO43-). Statistics used in the analysis were the average value and standard deviation.

The study results of effluents quality from seven points revealed that the averages for each parameter were as follows : pH 6.90 - 7.53, BOD 20.53 - 73.62 mg/l, SS 6.58 - 81.73 mg/l, TDS 88.03 - 549.86 mg/l, S2- 0.02 - 0.14 mg/l, TKN 0.77 - 4.52 mg/l, FOG 1.43 - 4.66 mg/l and PO43- 0.93 - 7.04 mg/l. When the study results were compared with Effluent Standard Buildings, it was found that the sampling points 2nd and 3rd with BOD, SS, and TDS, were over the Building type A Standard.